|  |  |  |  | DATE: Month / Date / Year NAME OF THE POOL: ________________________________________________ |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| POOL DAILY WATER TEST RECORDS Time of testing: 30 minutes before pool opens and then every 2 hours or every 4 hours with automatic sensing device until the pool is closed |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Time of Day | ½ hr. before opening am/pm | Time am/pm |  | Time am/pm | Time am/pm | Time am/pm | Time am/pm | Time am/pm | Time am/pm | Time am/pm | Time am/pm | Time am/pm | Time am/pm |
| Free Available Chlorine* |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Bromine/ Total Chlorine |  |  |  |  |  |  |  |  |  |  |  |  |  |
| pH (7.2-7.8) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Alkalinity (60ppm – 180ppm) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water clarity |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Operator’s Initials |  |  |  |  |  |  |  |  |  |  |  |  |  |

* Free Available Chlorine for indoor pools is 0.5-10ppm, outdoor pools is 1.0-10 ppm and Total Bromine is 2-8ppm

| POOL DAILY RECORDS |  |  |  |
| --- | --- | --- | --- |
| Records of any emergency: _________________________ ___________________________________________________ ___________________________________________________ ___________________________________________________ Rescue equipment breakdown:______________________ ___________________________________________________ ___________________________________________________ Back washing:_____________________________________ ___________________________________________________ ___________________________________________________ Cleaning, etc.: ____________________________________ ___________________________________________________ ___________________________________________________ | NAME OF TEST | PARAMETERS | OPERATOR’S INITIALS |
|  | Number of Bathers | Number = |  |
|  | Emergency stop button (if applicable) | Operational/ Not operational | Time of test: |
|  | Water Meter readings |  |  |
|  | Chemical added manually (except chlorine and bromine) | Type = Amount = |  |
|  | Ground current leakage and deionizing device (if applicable) | Operational/ Not operational |  |
|  | Emergency telephone | Operational/ Not Operational | Time of test: |
|  | ORP reading (if applicable, and recommended) | 600 to 900 mV |  |

| OUTDOOR POOL WEEKLY RECORD |  |
| --- | --- |
| Cyanuric Acid Concentration (less than 60 ppm) |  |

Last Updated: October 2025